## Slide 1: THE LIVE/WORK opportunity

## Slide 2: BLUEPRINT
PROBLEM
LIVE/WORK OPPORTUNITY
LIVE/WORK DEFINED
LIVE/WORK DEV. PROCESS
TIPS
HELPFUL CONTACTS
Notes: Abundance of office space in downtown.
Vancancies.

## Slide 3: PROBLEM: OFFICE SPACE
(-$$$$)
Notes: Abundance of office space in downtown.
Vancancies.

## Slide 4: OPPORTUNITY: LIVE/WORK SPACE
$$$
Notes: $$$ - it will bring people to live downtown which will create the opportunity for more dollars to be spent here. Additionally, the work part will bring more dollars downtown

## Slide 5: WHAT IS LIVE/WORK?
Dual-purpose residential/work building where artists/other professionals both live and work
MAX 3,000 sqft./unit
MAX of 50% (MAX 1,500 sqft) can be non-residential
LIVE
WORK

## Slide 6: WHO CAN USE LIVE/WORK?
For renters OR owners
For artists, crafts-persons, self-employed consultants, small cottage industries
TIP! For live/work spaces, businesses do not need to acquire a home occupation permit

## Slide 7: WHO CAN USE LIVE/WORK?
Can be self-employed OR people living and working as a group

## Slide 8: HOW IS LIVE/WORK USED?
Shared workspace and/or equipment related to their activities
  Individually-owned equipment
  inside their private living quarters
        OR

## Slide 9: WHERE IS LIVE/WORK ALLOWED?
Allowed in the following zones:
  Commercial Office (CO)
  Commercial Neighborhood (CN)
  Commercial General (CG)
  Commercial Downtown (CD)
  Light/Limited Industrial (IL)
Check City of Stockton’s Landmaster site to determine your zone
TIP! Allowed on 1st, 2nd, and 3rd floors without a Use Permit
Notes: Red = Commercial Downtown
Blue = General Industrial
Light Blue = Light/Limited Industrial
Green = Public Facilities
Brown = High-Density Residential
Tan = Commercial Office
Purple Brown = General Commercial
Residential is a “By Right” use.

## Slide 10
231 E. Weber
Notes: Spaces coming soon!

## Slide 11
500 E. Main

## Slide 12: HOW DO I GET STARTED?
X 4
      X 1
1
2
3
4
5
6
7
Contact planning to:
  Determine that LIVE/WORK is allowed in your zone
  Determine permit req. changes
3. Complete Building Permit App.*
  SJ Air Pollution Control District Compliance Questionnaire
  Environmental Health Hazardous Materials Disclosure
  Non-residential Accessibility Upgrade Requirements
X 5
      OR
8
2. Schedule an optional Economic Review Committee (ERC) meeting
Notes: Red = Commercial Downtown
Blue = General Industrial
Light Blue = Light/Limited Industrial
Green = Public Facilities
Brown = High-Density Residential
Tan = Office Commercial
Darker Brown = General Commercial
NOT REQUIRED –
FEMA Flood and COS 200 year flood (unless new build)
Truss layout (unless modifying the roof)
Non-residential space must be on the main floor
No more than 5 non-residential workers can be in the non-residential space at one time
There must be accessible restrooms/plumbing for the non-residential area
Live/work spaces must be equipped with fire sprinklers and fire alarms
There must be adequate fire separation between each live/work unit
http://www.stocktongov.com/files/RequirementsPriorBuildingPermit.pdf

## Slide 13: HOW DO I GET STARTED?
4. Receive feedback from city deps. (20 – 45 days)
5. Begin construction/
renovations
1
6. Vet potential tenants
1
2
3
4
5
6
7
8
Notes: Red = Commercial Downtown
Blue = General Industrial
Light Blue = Light/Limited Industrial
Green = Public Facilities
Brown = High-Density Residential
Tan = Office Commercial
Darker Brown = General Commercial
NOT REQUIRED –
FEMA Flood and COS 200 year flood (unless new build)
Truss layout (unless modifying the roof)
Non-residential space must be on the main floor
No more than 5 non-residential workers can be in the non-residential space at one time
There must be accessible restrooms/plumbing for the non-residential area
Live/work spaces must be equipped with fire sprinklers and fire alarms
There must be adequate fire separation between each live/work unit
http://www.stocktongov.com/files/RequirementsPriorBuildingPermit.pdf

## Slide 14: HOW DO I GET STARTED?
7. Pass final inspection
8. Begin leasing!
1
1
1
2
3
4
5
6
7
8
Notes: Red = Commercial Downtown
Blue = General Industrial
Light Blue = Light/Limited Industrial
Green = Public Facilities
Brown = High-Density Residential
Tan = Office Commercial
Darker Brown = General Commercial
NOT REQUIRED –
FEMA Flood and COS 200 year flood (unless new build)
Truss layout (unless modifying the roof)
Non-residential space must be on the main floor
No more than 5 non-residential workers can be in the non-residential space at one time
There must be accessible restrooms/plumbing for the non-residential area
Live/work spaces must be equipped with fire sprinklers and fire alarms
There must be adequate fire separation between each live/work unit
http://www.stocktongov.com/files/RequirementsPriorBuildingPermit.pdf

## Slide 15: TIPS! BUILDING REQUIREMENTS
Live/Work spaces must abide by the following codes:
  2016 CA Building Code Sec. 419
  2016 CA Building Code Sec. 420
  CA Plumbing Code Table 422.1
  Only < 5 non-residential workers allowed in workspace at once
  Non-residential space must have restrooms/plumbing
  Live/work spaces must have fire sprinklers & fire alarms
  Adequate fire separation required between live/work units
  No more than 125’ from farthest project point to safe space outside – must have an emergency exit from rooms to public right-of-way
  Dual-paned windows required for energy efficiency (certain exceptions made for historical buildings)
FOR SPECIFIC QUESTIONS, CONTACT:
RODRIGO FLORES - CITY PLAN CHECKER - (209)937-8353
Notes: Non-residential space must be on the main floor
No more than 5 non-residential workers can be in the non-residential space at one time
There must be accessible restrooms/plumbing for the non-residential area
Live/work spaces must be equipped with fire sprinklers and fire alarms
There must be adequate fire separation between each live/work unit
http://www.stocktongov.com/files/RequirementsPriorBuildingPermit.pdf

## Slide 16: TIPS! APPROVING TENANTS
Ensure tenants’ business types are approved in your zone
  Check City’s Development Code – Table 2-2
Ensure tenants have business licenses
  If they do not already have a license, they must apply for one at the City of Stockton Business License Department
UNSURE IF THE BUSINESS IS APPROVED?
CONTACT PLANNING DIVISION (209) 937-8266 OR VISIT 345 N. EL DORADO
Notes: BONUS TIP
Tenants can park in SP+ parking garages for $30/month

## Slide 17: HELPFUL CONTACTS
WILLIE WONG - ENG. - (209)937-8126
PHIL SIMON - FIRE MARSHAL - (209) 598-8819
KEVIN COLIN - PLANNING MANAGER - (209) 937-8446
RODRIGO FLORES - CITY PLAN CHECKER - (209)937-8353
JOHN SCHWEIGERDT - DEPUTY BUILD. OFF. - (209)937-8565
PERMIT DEPARTMENT - (209)937-8266
NICOLE SNYDER - ERC - (209)937-5359
Notes: Red = Commercial Downtown
Blue = General Industrial
Light Blue = Light/Limited Industrial
Green = Public Facilities
Brown = High-Density Residential
Tan = Office Commercial
Darker Brown = General Commercial
Non-residential space must be on the main floor
No more than 5 non-residential workers can be in the non-residential space at one time
There must be accessible restrooms/plumbing for the non-residential area
Live/work spaces must be equipped with fire sprinklers and fire alarms
There must be adequate fire separation between each live/work unit
http://www.stocktongov.com/files/RequirementsPriorBuildingPermit.pdf